**WANO-MC on-site representative weekly report**

**Bushehr NPP IRAN**

**April 27. 2016**

**\*Week 16 / 2016 (Wednesday 20 –Wednesday 27, April 2016) (\*Based on BNPP working calendar)**

|  |  |  |
| --- | --- | --- |
| **Items** | **Description** | **Note** |
| **Plant status** | * Unit(s) status (in operation (power), refueling outage, shut down, etc.)   Unit is in operation (power)– 100 % NR, |  |
| **Events during the week** | * Reported events * Events, which should be investigated by the plant * Other events of interest   26.04.2016 : Disconnection of 2\* 400 Kv power line of NPP because of fire of reed beds around the power masts in distance of 40 Km of NPP and power decrease to 30% of nominal power for 8 hours.  No other significant events reported and there was no deviation in the last week.  No new Low Level Event has been registered from the previous weekly report (from April 20, 2016) |  |
| **OSR monitoring activities during the week** | * Targeted observations (gap focus area, related plant department(s)/counterparts, dates, main results) * Participation in plant self-assessment/review/inspections (review area, related plant department(s)/counterparts, dates, main results) * Other Internal and external review (who conducted, review area, related plant department(s)/counterparts, dates, main results)   Daily monitoring of Bushehr NPP operation  23.04.2016 – meeting with NPP Director for reviewing the status of implementation of CA.  Control the activities to implementing the corrective actions resulted from the WANO Peer Review and preparing the report. |  |
| **OSR plant support activities during the week** | * For each activity – type of activity, gap focus area or reason, related plant department(s)/counterparts, dates, main results   Standard WANO support activities.  WANO TSM ““Operational Decision Making ODM”” at Bushehr NPP (22-26 Apr. 2016) – organized base on WANO PR results (AFI LF.1-1).  Preparation and agree the final version of the report on TSM.  Finalizing the report of self-assessment and targeted observation based on WANO document on GL 2010-2 and SOER 2011-1.  Meeting with Chief Engineer and NPP Director and Maintenance and repair Deputy and Managers for beginning the assessment and observation on the FME documents and determination of responsibilities for self-assassment based on WANO documents on FME. |  |
| **Other WANO activities during the week** | * For each activity – type of activity, reason, related plant department(s)/counterparts, dates, main results   Providing the plant with useful and necessary WANO information, supporting WANO MC and Bushehr NPP co-operation (TSM Planning, WANO requests, new WANO Good Practices, etc.) |  |
| **Planned activities**  **for the next week** | * OSR monitoring activities * OSR plant support activities * Other WANO activities * Other plant activities of interest   Reviewing the recommendations of WANO TSM “Operational Decision Making ODM”” at Bushehr NPP (22-26 Apr. 2016)  Control the status of implementation of corrective actions resulted from the WANO Peer Review and preparing the weekly report for the next meeting with Plant Director on next Saturday 30.04.2016.  30.04.2016 – Station Management meeting  Meeting with M&R deputy of CE and Maintenance and repair Managers for reviewing the FME documents and determination of responsibilities for self0-assassment based on WANO documents on FME.  Final meeting with Electrical managers for finalizing the report of self-assessment and targeted observation based on WANO document on GL 2010-2 and SOER 2011-1. |  |
| **Other issues** |  |  |