**WANO-MC on-site representative weekly report**

**Bushehr NPP IRAN**

**April 27. 2016**

**\*Week 16 / 2016 (Wednesday 20 –Wednesday 27, April 2016) (\*Based on BNPP working calendar)**

|  |  |  |
| --- | --- | --- |
| **Items** | **Description** | **Note** |
| **Plant status** | * Unit(s) status (in operation (power), refueling outage, shut down, etc.)

Unit is in operation (power)– 100 % NR,  |  |
| **Events during the week** | * Reported events
* Events, which should be investigated by the plant
* Other events of interest

26.04.2016 : Disconnection of 2\* 400 Kv power line of NPP because of fire of reed beds around the power masts in distance of 40 Km of NPP and power decrease to 30% of nominal power for 8 hours.No other significant events reported and there was no deviation in the last week.No new Low Level Event has been registered from the previous weekly report (from April 20, 2016)  |  |
| **OSR monitoring activities during the week** | * Targeted observations (gap focus area, related plant department(s)/counterparts, dates, main results)
* Participation in plant self-assessment/review/inspections (review area, related plant department(s)/counterparts, dates, main results)
* Other Internal and external review (who conducted, review area, related plant department(s)/counterparts, dates, main results)

Daily monitoring of Bushehr NPP operation23.04.2016 – meeting with NPP Director for reviewing the status of implementation of CA.Control the activities to implementing the corrective actions resulted from the WANO Peer Review and preparing the report. |  |
| **OSR plant support activities during the week** | * For each activity – type of activity, gap focus area or reason, related plant department(s)/counterparts, dates, main results

Standard WANO support activities.WANO TSM ““Operational Decision Making ODM”” at Bushehr NPP (22-26 Apr. 2016) – organized base on WANO PR results (AFI LF.1-1). Preparation and agree the final version of the report on TSM.Finalizing the report of self-assessment and targeted observation based on WANO document on GL 2010-2 and SOER 2011-1.Meeting with Chief Engineer and NPP Director and Maintenance and repair Deputy and Managers for beginning the assessment and observation on the FME documents and determination of responsibilities for self-assassment based on WANO documents on FME. |  |
| **Other WANO activities during the week** | * For each activity – type of activity, reason, related plant department(s)/counterparts, dates, main results

Providing the plant with useful and necessary WANO information, supporting WANO MC and Bushehr NPP co-operation (TSM Planning, WANO requests, new WANO Good Practices, etc.) |  |
| **Planned activities** **for the next week** | * OSR monitoring activities
* OSR plant support activities
* Other WANO activities
* Other plant activities of interest

Reviewing the recommendations of WANO TSM “Operational Decision Making ODM”” at Bushehr NPP (22-26 Apr. 2016)Control the status of implementation of corrective actions resulted from the WANO Peer Review and preparing the weekly report for the next meeting with Plant Director on next Saturday 30.04.2016.30.04.2016 – Station Management meeting Meeting with M&R deputy of CE and Maintenance and repair Managers for reviewing the FME documents and determination of responsibilities for self0-assassment based on WANO documents on FME.Final meeting with Electrical managers for finalizing the report of self-assessment and targeted observation based on WANO document on GL 2010-2 and SOER 2011-1. |  |
| **Other issues** |  |  |