MVM Paks NPP wants to rationalize the RCA storage of hand tools used by plant and contractor personnel (RCA = radiologically controlled area).

The currently applied system involves different levels of risk in many respects (checking of tools out and in, necessity of decontamination of contaminated items, seismic risk of storage areas, etc.).

Your answers to our following questions will be highly appreciated as a valuable help for the design of our new system:

1./ Do you have a central facility for the issuance of tools within the RCA?

2./ If so,

2/a. what types of tools are stored and managed there?

2/b. what is your experience with the operation of such a facility?

2/c. under what radiation protection rules is this facility operated? (levels of surface contamination, requirements for decontamination, etc.)

2/d. under what condition(s) are tools released to contractor personnel? (identification, responsibility for replacement, etc.)

3./ If not,:

3/a. how are maintenance equipment stored?

3/b. how do you manage tools used by contractor personnel?

----------------------------------------------------------------------------------------------------------------

АЭС Пакш хотела бы рационализировать практику хранения в контролируемой зоне ручного инструмента, используемого как подразделениями АЭС, так и подрядными организациями.

Используемая в настоящее время система по многим аспектам несет в себе различной степени риск (контроль за вносом-выносом инструмента; необходимость  дезактивации инструмента в случае его загрязнения; риск, связанный с сейсмостойкостью помещений для хранения инструмента и т.д.)

Для принятия решения по внедрению новой системы просим ответить на следующие вопросы:

1./ Имеется ли у вас в контролируемой зоне централизованное хранилище/склад выдачи ручного инструмента?

2./ Если да:

2/a. хранение, раздача  инструмента какого типа в нем осуществляется?

2/b. ваш опыт использование такого хранилища?

2/c. каковы требования радиационной безопасности к данному хранилищу? (значения поверхностного радиоактивного загрязнения; требования по обязательной дезактивации и т.п.)

2/d. каковы условия выдачи инструмента работникам подрядных организаций? (идентификация, ответственность за порчу/утерю/возмещение, и т.п.)

3./ Если нет:

3/a. каком образом осуществляется на вашей станции хранение ремонтного инструмента?

3/b. как вы обращаетесь с инструментом, используемым работниками подрядных организаций?