Content (structure) of Chapter

2.13.15 «Requirements for Physical Protection System»

# 2.13.15.1 General

General description of the site, buildings and structures with attachment of the site general layout with explication of buildings (structures) to be protected with the PPS components.

# 2.13.15.2 Buildings and structures to be protected and their classification as protected areas

List of buildings and structures to be protected with indication of protected areas shall be given in Appendix to the TA.

Plans with designation of boundaries of protected areas shall be given in Appendices to the TA.

# 2.13.15.3 Arrangement of NPP guard

- 2.13.15.3.1 Guard

There are requirements on necessity of buildings and structures arrangement at the NPP site to provide guard force activities.

There are requirements on arrangement of guard posts, response groups.

There are requirements for architectural peculiarities of the specified buildings (quantity of accommodated personnel, list and requirements for mutual arrangement of necessary compartments, etc.).

- 2.13.15.3.3 Security service (if required)

There are requirements on arrangement of security posts.

There are requirements on necessity of buildings and structures arrangement at the NPP site to provide security service activities.

There are requirements for architectural peculiarities of the specified buildings (quantity of accommodated personnel, list and requirements for mutual arrangement of necessary compartments, etc.).

- 2.13.15.3.3 Interaction between security service (SS) and guars (if required)

There are requirements on division of responsibility areas, authorities of the guard and security service, as well as on interaction between the guard and SS forces.

# 2.13.15.4 Engineered features of physical protection

- 2.13.15.4.1 Requirements for the composition of physical protection engineered features (PP EF)

Requirements for the PP EF composition are specified (an example of composition is given below):

- Physical protection engineering features complex;

- Physical protection hardware complex including:

- Data acquisition and processing system (DAPS);

- Intrusion alarm system (IAS);

- Alarm system equipment;

- Access monitoring and control system (AMCS);

- Electro optical surveillance and situation assessment system;

- Operative communication and warning system;

- Telecommunication system;

- Information security system;

- Auxiliary systems and equipment supporting physical protection operation:

- Power supply system;

- Lighting system;

- Cable networks and cableway system.

# 2.13.15.5 Requirements for equipping with the physical protection engineered features (exclusion area, protected buildings, structures and premises)

- 2.13.15.5.1 Exclusion area of the site perimeter

The following requirements for equipping the exclusion area of the nuclear island site perimeter with the physical protection engineered features shall be reflected:

- Composition, width of the exclusion area;

- Equipping with the physical protection engineering features with indication of their type and quantity;

- Equipping with the hardware (security equipment, alarm system equipment, operative communication and warning system, electro optical surveillance system cameras, lighting system, etc.) with indication of security alarm borders, type of equipment.

Cross-sections of the exclusion area being designed shall be given in Appendix to the TA.

- 2.13.15.5.2 Personnel check points

The item shall contain a list of checkpoints for personnel entry to the controlled access area, to the buildings to be protected, as well as number of main and  emergency passageways (to carry oversized cargos and for emergency situations) and specify the following requirements:

- For equipping with the physical protection engineering features (guard booths, entrance security cabins, turnstiles, partitions for controlled passage) with indication (if required) of their type and quantity, as well as requirements indicating the necessity to ensure stability to external effects (bullet resistance, burglary resistance, etc.);

- For equipping with the physical protection hardware (security equipment, alarm system equipment,  operative communication and warning system, equipment for detection of carrying out nuclear materials, explosives and metal articles , lighting system)  with indication (if required) of quantity and type of equipment;

- For blocking (unblocking) the turnstiles, cabins and doors.

- 2.13.15.5.3 Vehicle check points

Vehicle check points are provided for motor transport, rail transport and for both.

There are requirements for the components of vehicle checkpoints – examination areas and checkpoints for persons (for checking the persons accompanying vehicle).

The following requirements shall be specified for examination areas:

- For equipping with the physical protection engineering features (fences, anti-ram barriers, railway points, armored gate, examination structures, etc.) with indication of type, quantity, parameters of vehicles (mass and speed – for selection of anti-ram barriers);

- For equipping with the physical protection hardware (security equipment, alarm system equipment,  operative communication and warning system, traffic lights, equipment for access and detection of transporting nuclear materials, explosives and metal articles, security lighting );

- For gate and anti-ram barriers control and blocking at the examination area entry and exit with indication of control panel location.

- 2.13.15.5.4 Buildings (structures) and premises to be protected

There are the following requirements for equipping the buildings and premises perimeters to be protected:

- For arrangement of personnel checkpoint;

- To walls and floors as for engineering features;

- For equipping the window and door apertures with the physical protection engineering features (grating, armored doors, bulletproof glass, etc.);

- For equipping with the physical protection hardware (security equipment, alarm system equipment,  operative communication and warning system, equipment for access and detection of carrying out (transporting) nuclear materials, explosives and metal articles, security lighting);

# 2.13.15.6 Requirements for location of central and local control rooms of PPS

The following requirements are specified:

- For location of the PPS control rooms being designed with indication of buildings and premises;

- For composition of premises and their areas;

- For architectural and construction as well as sanitary engineering solutions.

- Requirements for the equipment of central and local control rooms of PPS

There are the following main requirements for station equipment of the PPS central control room (CCR) and local control room (CCR):

- For location of control panels;

- For control and monitoring scope (building, several buildings, perimeter, the whole site);

- For necessity of information duplication from LCR to CCR;

- For necessity of information duplication from LCR to CCR, for LCR independence degree, as well as for  character and volume of information to be duplicated in LCR;

- For power supply system equipment.

A number of automated workstations (AWS), servers, their purpose, are specified in addition (automated workstation of operator, operator, guard officer, security service chief, etc.).

There are requirements for equipping the CCR and LCR with the physical protection engineering features (architectural and construction solutions).

There are requirements for equipping the CCR and LCR with the physical protection hardware (access equipment, security equipment, etc.)