Program for participation of the Regional Crisis Center in the emergency preparedness exercise at Paks NPP (30 September 2015)

- Date and time for implementation of the emergency preparedness exercise: on 30.09.2015 from 08:00 Budapest time (09:00 Moscow time). Duration of the emergency preparedness exercise – 6 hours in the rough.

- Purpose of the exercise

2.1 Exercise of the “Emergency Response Procedure” and “Regulation for Information Exchange between the Members of the Regional Crisis Center for a VVER-type reactor NPP of WANO Moscow Centre” in response to a simulated accident at Paks NPP.

2.2 Arrangement of urgent communication between RCC members to inform them about a simulated accident at Paks NPP in compliance with the “Regulation for Information Exchange between the Members of the Regional Crisis Center for a VVER-type reactor NPP of WANO Moscow Centre”.

2.3 Exercise of communication between Paks NPP, RCC, TSCs, SCC of Rosatom and Utilities/NPPs – the RCC participants, in the frames of response to a simulated accident within the boundaries of the NPP industrial site / NPP general accident.

2.4 Exercise for the duty shift of the Operational Dispatch Division of the STC ATR when taking response actions within the frames of the RCC.

2.5 Exercise for the RCC and TSCs how to provide expert/consultant and engineering & technical support in response to an accident within the boundaries of the NPP industrial site / general accident at a VVER-type reactor NPP.

- A.P. Markov, the Deputy Director of the Department for Emergency Preparedness and Radiation Protection of Rosenergoatom Concern JSC is assigned to be the Manager of emergency preparedness exercise on behalf of the RCC.

- Participants of the exercise

On behalf of the Russian Federation

- Rosenergoatom Concern JSC, OPAS members;

- Technical Support Centers (OKB “Gidropress”, NRC Kurchatov Institute, JSC VNIIAES, RPA “Typhoon”);

- Situation and Crisis Center (SCC) of Rosatom, subject to agreement;

- Technical Support Group of the JSC “Consyst-OS”.

On behalf of foreign organizations

- On behalf of Hungary (Paks NPP);

- On behalf of China (Jiangsu Nuclear Power Corporation);

- On behalf of Slovakia (Slovenské elektrárne);

- On behalf of Finland (Fortum Corporation, Loviisa NPP);

- On behalf of Ukraine (NNEGC “Energoatom”);

- On behalf of Bulgaria (Kozloduy NPP);

- On behalf of Armenia (Armenian NPP);

- On behalf of Czech (JSC CEZ, Temelín NPP);

- On behalf of Iran (Bushehr NPP).

International organizations

World Association of Nuclear Operators (WANO), Moscow Centre.

- Initial arrangement of the participants

5.1 The manager of emergency preparedness exercise, members of RCC functional support group and JSC VNIIAES TSC experts are at their working places in the CC (VNIIAES building). They start exercise activity after notification made by automated notification system.

5.2 TSCs experts (NRC KI, OKB “Gidropress” and RPA “Typhoon”) carry on daily activities not related with the exercise. They get involved in the exercise upon the order from manager of the exercise.

6. Method for the exercise.

6.1 Paks NPP provide information on the simulated accident in accordance with the “Regulation for Information Exchange”.

6.2 The RCC provides translation and informing of Utilities/NPPs – RCC participants on the simulated accident in accordance with the “Regulation for Information Exchange”.

6.3 Besides, RCC formats should be posted on the CC Ftp-server in folder KCREA/PAT_PAKNPP_30_09_2015.

6.4 The manager of the exercise shall decide to assemble the OPAS team members (using automated notification system) and TSC experts (NRC KI, OKB “Gidropress” and RPA “Typhoon”, using videoconferencing).

7. Arrangement of information exchange at emergency preparedness training/exercise in frames of the RCC

7.1 Facsimile and e-mail shall be used as the main communication channel in frames of the exercise; in addition, all messages on the exercise shall be duplicated at the ftp-server of the Crisis Center. Videoconferencing shall be arranged for communication with the TSCs (NRC KI, OKB “Gidropress” and RPA “Typhoon”).

7.2 RCC contact information:

Fax: +7 495 710 6764; backup: +7 495 710 4090;

E-mail: nskc1@rosenergoatom.ru, backup: nskc2@rosenergoatom.ru;

Manager of the exercise: tel. +7 495 710 6514, +7 495 376 1503;

Crisis Centre Shift Supervisor: tel.: +7 495 710 5995, backup +7 495 710 6002;

Ftp-server of the CC: folder KCREA/PAT_PAKNPP_30_09_2015.

7.3 All messages sent within the training/exercise shall be registered as per “Regulation for Information Exchange” (date and time of sending/receiving, sender/receiver details).

7.4 All the information sent within the training/exercise shall be respectively marked as “Exercise!” both in Russian and in English.

7.5 Transmission of all messages via using the services of videoconferencing, e-mail, ftp-server, telephone and facsimile communication shall start with the word “Exercise”.

7.6 Upon completion of the exercise, an audio conference shall be arranged between the Regional Crisis Center and Paks NPP.

8. Evaluation of the emergency preparedness exercise

8.1 The emergency preparedness exercise at Paks NPP shall be evaluated using following criteria:

- following the “Regulation for Information Exchange” in terms of messaging timing;

- using of actual RCC formats;

- accuracy of filling of RCC formats and correctness of messaging sequence;

- adequacy of the data provided to fully understand and assess a situation on the plant.

- adequacy of initial event description in accordance with exercise scenario;

- communication means capability during the exercise (audio- and videoconferencing);

- arrangement of an expert/consultant support;

- a list of  emergency response forces and facilities used during the exercise.

9. Report on the emergency preparedness exercise

9.1 A scenario of the conducted exercise shall be forwarded to the RCC by Paks NPP within two days in order to perform a detailed analysis of the results of the exercise.

9.2 All exercise participants should sent their comments and suggestions on the exercise on golubkin-va@rosenergoatom.ru within five days.

9.3 A draft report containing the analysis of the results of the RCC work within the frames of the exercise shall be prepared within a week upon completion of the exercise.

9.4 A draft report shall be posted on a RCC secure webpage on www.wanomc.ru within ten days in order to let the RCC participants to review and agree the report.

9.5 The RCC participants shall review the draft report within four days after posting on web and give feedback (if appropriate).

9.6 If necessary, the report shall be corrected and approved, and then posted on the CC ftp-server.

- 9.	Plan for the RCC and TSCs participation in the emergency preparedness exercise at Paks NPP (30.09.2015)

| Item | Astronomical (operating) time | Development of simulated events, participants’ response | Participants |
| --- | --- | --- | --- |
|  | H+0:00 | Start of the emergency preparedness exercise via simulating an initiating event at Paks NPP (Hungary). | All participants |
|  | H+0:00 ÷ H+0:30 | Receiving message about safety-important event(s) at Paks NPP (acc. to RCC-2 message form) | Crisis Center Shift Supervisor (CCSS) Paks NPP |
|  | H+0:05 ÷ H+0:35 | Message from the RCC to Paks NPP concerning receiving of information on safety-important events at Paks NPP | CCSS |
|  | H+0:20 ÷ H+0:50 | Translation of the message about safety-important events at Paks NPP (acc. to RCC-2 message form) | RCC Functional Support Group (FSG) |
|  | H+0:25 ÷ H+0:55 | Alert of the Utilities/NPPs - members of the RCC about safety-important events at Paks NPP. | CCSS |
|  | H+0:30 ÷ H+1:00 | Receiving a message about the accident within the boundaries of the NPP industrial site / general accident (acc. to RCC-3 message form). | CCSS Paks NPP |
|  | H+0:35 ÷ H+1:05 | Message from the RCC to Paks NPP concerning receiving of information about the accident within the boundaries of the NPP industrial site or general accident. | CCSS Paks NPP |
|  | H+0:50 ÷ H+1:20 | Translation of the message about the accident within the boundaries of the NPP industrial site / general accident. | RCC FSG |
|  | H+0:55 ÷ H+1:25 | Alert about the accident within the boundaries of the NPP industrial site / general accident at Paks NPP by the Acting Head of the RCC (A.P.Markov). | CCSS |
|  |  | Taking a decision on the RCC placement under “High alert” mode. | Acting Head of the RCC |
|  | H+1:00 ÷ H+1:30 | Placement of the RCC and TSCs under “High alert” mode. Arrangement of a video conference with the Crisis Center - OKB “Gidropress” - NRC KI - RPA “Typhoon”. Gathering of participants of the emergency preparedness exercise in the Crisis Center and TSCs. | CCSS Participants of the emergency preparedness exercise |
|  | At the latest H+2:30 | Alert of the Utilities/NPPs - members of the RCC about the accident within the boundaries of the NPP industrial site or general accident. | CCSS, Utilities/NPPs – participants of the RCC |
|  | When ready | Receiving data from Paks NPP as per monitoring of the process at power units and radiation situation at the NPP and within the region of its siting (acc.to RCC-3a message form). | CCSS Paks NPP |
|  | When received | Transmission of the information received as per monitoring of the process at power units and radiation situation at the NPP and within the region of its siting (acc.to RCC-3a message form) to TSCs and Utilities/NPPs – participants of the RCC | CCSS, Utilities/NPPs – participants of the RCC |
|  | In case Paks NPP takes decision on sending a request | Receiving of a request on rendering expert/consultant and engineering & technical support in response to the accident within the boundaries of the NPP industrial site / general accident (acc.to RCC-4 message form). | CCSS Paks NPP |
|  | Within 25 minutes upon receiving the request | Translation of the request on rendering expert/consultant and engineering & technical support in response to the accident within the boundaries of the NPP industrial site / general accident (acc.to RCC-4 message form) | RCC FSG |
|  | Within 10 minutes upon receiving the request | Transmission of the request on rendering expert/consultant and engineering & technical support in response to the accident within the boundaries of the NPP industrial site / general accident to the TSCs (OKB “Gidropress”, NRC KI, RPA “Typhoon”) | CCSS, TSCs |
|  |  | Work of Expert groups for radiation safety and protection measures, Expert groups for reactor plant state, experts of TSCs to prepare answers to the request provided by Paks NPP on rendering expert/consultant and engineering & technical support. Making recommendations and expert assessments as well as approval thereof | Expert groups for radiation safety and protection measures, Expert groups for reactor plant state, TSCs |
|  | When ready | Translation into English of the answers to the request provided by Paks NPP on rendering expert/consultant and engineering & technical support | RCC FSG, CCSS |
|  | When ready | Transmission of the answer to the request on rendering expert/consultant and engineering & technical support to Paks NPP | CCSS Paks NPP |
|  |  | Completion of the emergency preparedness exercise | All participants |