|  |  |  |  |
| --- | --- | --- | --- |
| Comment | Text of comment | Resolution | Comment implementation |
|  [TE1]: | The availability of “The procedure for periodic check of water tightness of openings exists in BNPP” should be mentioned in the report section 3.1.2.3 (relevant to previously deleted item 2.8 of safety measures). According to Dec 2019 meeting at BNPP, it was decided to delete item 2.8 and modify the relevant text of the report.  | Accepted | The reference to the procedure is already presented in 3.1.3.1. Nevertheless, the **reference was added** also **to 3.1.2.3** as requested and the text of the paragraph was modified accordingly. |
|  [TE2]: | “Assessment of additional hardware provisions to facilitate cooling of molten corium after failure of the reactor vessel and to provide for containment heat removal should be considered (such as low-pressure top flooding of molten corium, flooding the bottom of containment annulus, installation of diverse containment heat removal system).” Should be inserted as agreed before.  | Accepted | The text was **modified according to the comment**. |
|  [TE3]: | This recommendation shall be deleted because it has not been discussed in Dec 2019 meeting at BNPP and does not exist in the final approved list of recommendations.  | Accepted | The **recommendation was deleted**. |
|  [TE5]: | 7.7 | Accepted | The numbering was repaired. |
|  [TE6]: | This recommendation shall be deleted because it has not been discussed in Dec 2019 meeting at BNPP and does not exist in the final approved list of recommendations. | Accepted | This recommendation had been added by Tavana in September 2019 and was not presented in the NPPD table of discussed items for the Dec 2019 meeting and hence not discussed.**Recommendation deleted.**  |
|  [TE7]: | This recommendation shall be deleted because:* It has not been discussed in Dec 2019 meeting at BNPP and does not exist in the final approved list of recommendations.
* Updating of FSAR is a part of SBEOI contract with Russian vendor and will be performed in due time.
 | Accepted | This recommendation had been added by Tavana in September 2019 and was not presented in the NPPD table of discussed items for the Dec 2019 meeting and hence not discussed.**Recommendation deleted.**  |
|  [TE8]: | This recommendation shall be deleted because:* It has not been discussed in Dec 2019 meeting at BNPP and does not exist in the final approved list of recommendations.
* PSR has already been made compulsory for BNPP by INRA every 10 years.
 | Accepted | This recommendation had been added by Tavana in September 2019 and was not presented in the NPPD table of discussed items for the Dec 2019 meeting and hence not discussed.**Recommendation deleted.**  |