|  | World Association of Nuclear Operators Moscow Centre WANO – MC 25 Ferganskaya, Moscow, 109507, Russia Phone. +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

- NPP/Organization: Kola NPP, “Concern Rosenergoatom”, Russia

- The topic of information request: Uninterruptible power supply (UPS) system PEW 1005-220/220-EAN manufactured by GUTOR. This UPS system is used at Kola NPP to supply power to pilot valves of the pressurizer and steam-generator safety valves. Operating experience.

- The goal of information request: Gain operating experience for UPS system PEW 1005-220/220-EAN.

- Problem description: Insufficient UPS reliability

- Specific questions: 1. What deficiencies have you experienced in the UPS operation and how did you correct them? 2. What spare parts are in need including those out of production?

- Proposed organizations for sending this request: WANO MC members

- Department – request initiator: Kola NPP, I&C Department

Contact details of the requester: Beschastnov Konstantin, I&C Department Head, Tel. (881532) 42385; E-mail: <BeschastnovKC@kolatom.murmansk.ru> ; Vasiliev Andrey, ведущий инженер ЦЦР, тел. (881532) 42910; E-mail: <VasilievAN@kolatom.murmansk.ru>

- Date of request: 17.01.2019