6. Operating Experience feedback

6.1. Organization and functions

6.1.1. Functions and responsibilities

How are organizational structure, responsibilities, levels of authority and functions defined and communicated within the operating experience feedback organization? Are they understood by personnel? [SSR-2/2 Requirement 1; 3.2(a)(b), Requirement 3; 3.8, 3.9]

How are the roles, responsibilities, lines of communication and interfaces with corporate organizations as well as other external support organizations (manufacturers, research organizations and designers) defined and understood? [SSR-2/2 Requirement 24; 5.32] [NS-G-2.11; 7.9]

What are the various elements of the Operating Experience programme currently in place at the plant? [SSR-2/2 Requirement 24; 5.27] [NS-G-2.4; 6.62] [NS-G-2.11;2.8]

How are the operational goals/objectives related to OE implemented, communicated, reviewed and assessed? [SSR-2/2 Requirement 1; 3.2(a)]

How does the plant establish and measure the effectiveness of its policies related to operating experience feedback? [SSR-2/2 Requirement 1; 3.2(a), Requirement 5; 4.1, 4.2, 4.4, Requirement 24; 5.33] [NS-G-2.4; 6.62] [NS-G-2.11; 8.1]

How are management expectations regarding the systematic reporting, screening and use of internal and external operating experience defined, communicated (through for example team briefings, pre-job briefings, JIT training, etc.) and reinforced? [NS-G-2.11; 7.2]

What management system and procedures are used to define i) the structure of the system for the feedback of operating experience, ii) the types of information processed, iii) the channels of communication and iv) the responsibilities of the various groups and organizations involved? [NS-G-2.11; 2.12]

What is the involvement of management in establishing a ‘just’ (non-discriminatory and impartial) reporting system at the plant? [NS-G-2.4; 6.68]

6.1.2. Personnel

How are responsibilities, competence, qualification criteria and training requirements defined for personnel involved in the feedback of operating experience? [NS-G-2.4; 6.67]

What is the involvement of management in establishing a ‘just’ (non-discriminatory and impartial) reporting system at the plant? [NS-G-2.4; 6.68] [INSAG-15; 3.4(c)]

How are plant personnel held accountable for effective and timely implementation of lessons learned from operating experience information? [NS-G-2.11; 5.2]

6.2. Reporting of operating experience

What criteria and procedures have been established for staff to identify and report operating experience in a timely manner? [NS-G-2.11; 10.2, 10.4]

How are various events identified and reported? This includes low-level events and near-misses, potential problems relating to equipment failures, shortcomings in human performance, procedural deficiencies and inconsistencies in documentation. [SSR-2/2 Requirement 24; 5.31] [NS-G-2.4; 6.64]

To what extent are plant personnel and contractors aware of the reporting process? Is the process user-friendly? [SSR-2/2 Requirement 24; 5.27] [NS-G-2.4; 6.68] [Reference to NS-G-2.11 to be added later]

What encouragement is given to employees to report all events, including low-level events and near-misses? [SSR-2/2 Requirement 24; 5.31] [NS-G-2.4; 6.68]

How is feedback provided to the person reporting an issue? Are any reports rejected, and if so, on what grounds? [GS-G-3.5; 6.53] [Revised NS-G-2.11 reference to be added later]

6.3. Sources of operating experience

What sources of industry operating information are identified, and how is access to these sources formally established and systematically screened? Do these sources include organizations and publications such as: IAEA/NEA IRS, WANO/INPO, SER, SOER, the national regulatory body, Generic Letters, bulletins, notices, owner groups, vendors’ and manufacturers’ problem notifications, engineering designer problem notifications, utility and industry event reports, results from peer review missions and from benchmarks? [SSR-2/2 Requirement 24; 5.27, 5.32] [NS-G-2.11; 7.5, 7.9]

How are Good Practices used, among other resources, as a basis for improvement? [NS-G-2.11; 3.3]

What sources of in-house operating experience are identified? How is information from and access to these sources formally established and systematically screened? These sources should include: significant events, low-level events and near-misses; quality assurance reports; reports and data from operations activities, maintenance testing and in-service inspections; surveillance reports; results from plant-specific safety assessments; training feedback; no-blame reporting programmes; and performance indicators. [SSR-2/2 Requirement 24; 5.27]

6.4. Screening of operating experience information

How is internal and external operating experience screened to select and prioritise information for further investigation and analysis? [SSR-2/2 Requirement 24; 5.27] [NS-G-2.11; 3.1, 3.7, 3.9]

What are the screening criteria and thresholds for internal and external operating experience? [NS-G-2.11; 3.6, 3.8]

What is the timeframe for performing the screening? Are sources of information and their corresponding frequency of screening defined? [NS-G-2.11; 3.6]

Is screening performed by a multidisciplinary group with broad knowledge of plant design and operation, including knowledge of matters concerning human performance and behaviours? [NS-G-2.11; 3.2, 3.6]

How is trend analysis used for screened internal operating experience data that was initially identified as being less safety-significant? [NS-G-2.11; 3.6]

How is screening of internal and external operating experience recorded for evaluation during subsequent periodic self-assessment or peer reviews? [SSR-2/2 Requirement 24; 5.33] [NS-G-2.11; 3.8]

6.5. Investigation and analysis

What consideration is given to ensuring that events are investigated and analysed in accordance with their level of safety significance (actual as well as potential), severity and recurrence, and that all root causes and contributing factors are identified? [SSR-2/2 Requirement 24; 5.28] [NS-G-2.11; 4.3, 4.10]

What criteria and procedures are in place to specify the type of investigation that is appropriate for an event? Do they include guidelines for performing a full root cause analysis, an apparent cause analysis, and a trend analysis? [NS-G-2.11; 4.2, 4.4, 4.10] [Apparent cause analysis to be covered in revised NS-G-2.11 and then referenced here]

In what way does the investigation of safety significant events cover aspects like identification of direct and root causes, causes relating to equipment design, operation and maintenance, or human and organizational factors? [SSR-2/2 Requirement 24; 5.28] [NS-G-2.11; 4.7] [NS-G-2.4; 6.64]

To what depth are event investigations carried out so as to address both the extent of condition and extent of cause? [NS-G-2.11; Appendix III.13] [Extent of cause and extent of condition to be included in revised NS-G-2.11 and then referenced here]

What level of analysis is specified for low-level events, near-misses and other adverse trends, so that generic implications, precursors to declining performance, and root causes of adverse trends can all be identified? [NS-G-2.4; 6.64] [NS-G-2.11; 4.4]

What type of training is provided to personnel performing event investigations and analyses? What knowledge do they have of plant design, procedures and operation, and what levels of experience and skills do they possess? What training in various root cause analysis techniques have they undertaken? [SSR-2/2 Requirement 7; 4.22] [NS-G-2.4; 6.67] [NS-G-2.8; 5.3] [NS-G-2.11; Appendix III.2, III.6]

In what timeframe are events investigated and interviews conducted to preserve information and physical evidence? [NS-G-2.11; Appendix III.7] [NS-G-2.11; 4.7]

What is the involvement of event investigators in formulating corrective actions? [NS-G-2.11; 5.2]

How does event investigation and analysis take account of previous similar events and precursors from both internal and external sources? [NS-G-2.11; 4.3]

How are event investigations and analysis reports reviewed to ensure that all root causes have been identified? [NS-G-2.11; 3.6] [To be included in NS-G 2.11 revision and then referenced here]

How do event investigations cover various root causes/causal factors, especially those related to human factors and organizations? Can records of recent event analyses be provided as an illustration? [SSR-2/2 Requirement 24; 5.28] [NS-G-2.4; 6.64]

6.6. Corrective actions

Does the investigation of events and the review of other operating experience result in clear and well defined corrective actions? To avoid recurrence of events, do these corrective actions address the fundamental causes of problems, including human and organizational factors, rather than just the symptoms? [SSR-2/2 Requirement 24; 5.30] [NS-G-2.4; 6.64] [NS-G-2.11; 5.2, 5.3, 5.5, Appendix IV.3]

How are corrective actions prioritised, scheduled, and implemented? For safety significant items, how are temporary corrective actions taken before final corrective actions are implemented? [SSR-2/2 Requirement 24; 5.30] [NS-G-2.11; 5.6] [GS-G-3.1; 6.71]

What tracking process has been implemented to ensure that all approved corrective actions are completed in a timely manner? [NS-G-2.11; 5.7]

How are managers held accountable for meeting due dates for corrective actions? How are extensions to due dates for completing corrective actions controlled? [GS-G-3.1; 6.71, 6.74]

How are concerned personnel (individuals who identified the issues) informed of corrective actions that have been taken or are planned? [SSR-2/2 Requirement 24; 5.30] [GS-G-3.5; 6.53]

How does the plant evaluate the effectiveness of corrective actions that have been implemented? Is the list of pending corrective actions constantly reviewed in light of latest developments to confirm that the chosen actions are still relevant and called for? [SSR-2/2 Requirement 24; 5.30] [NS-G-2.11; 5.7] [GS-G-3.1; 6.74]

6.7. Utilization and dissemination of operating experience

What is the involvement and commitment of senior management in promoting and reinforcing the use of operating experience? [NS-G-2.4; 6.63] [NS-G-2.11; 2.9] [GS-G-3.5; 2.18]

How is the use of operating experience encouraged and reinforced by plant management? How are personnel made aware of management expectations regarding the use of OE information? [NS-G-2.11; 7.2]

Is operating experience information, both internal as well as external, made accessible to plant personnel? Is this access user-friendly? Are personnel aware and knowledgeable of how to access it? [NS-G-2.11; 7.2]

How is operating experience used in personnel work activities (i.e. pre-job briefings, work planning, shift briefings, just-in-time information sheets, etc.)? [NS-G-2.11; 7.2]

How are lessons learned from industry and in-house experience communicated to the training department in a systematic manner, and reflected in relevant training material after proper review? How is this information used in initial training and refresher training? [SSR-2/2 Requirement 7; 4.22, Requirement 24; 5.28] [NS-G-2.4; 6.69] [NS-G-2.11; 7.2]

What liaising arrangements are maintained with supporting organizations like manufacturers, research organizations and designers, to feed back information on operating experience so as to obtain the necessary advice as and when required? [SSR-2/2 Requirement 24; 5.32]

How is internal operating experience shared with national and international bodies? [SSR-2/2 Requirement 24; 5.27] [NS-G-2.11; 7.4, 7.5]

6.8. Trending and review of operating experience

How and by whom are trends in operating experience (including for example equipment failures, industrial safety reports, radiological contamination reports, records of maintenance work and of shortfalls in human performance) examined for any precursors to adverse conditions for safety? [SSR-2/2 Requirement 24; 5.29] [NS-G-2.11; 6.3, 6.4, 6.13] [NS-G-2.4; 6.66]

What type of coding system is applied for characterizing various events? How are these codes used to identify adverse trends and the potential for events to recur? [NS-G-2.11; 6.6, 10.3]

Which databases have been set up for events, deficiencies, anomalies and deviations so that information can easily be retrieved to facilitate integrated review and analysis of operating experience drawn from reports on organizational and human factors, equipment failures, work management and maintenance deviations? [NS-G-2.11; 10.12]

Once identified, how is an abnormal trend treated at the plant? What type and level of analysis does it trigger? Is the threshold set low enough, and can a few examples of trending be provided? What follow-up actions are taken to verify that the adverse trend has been corrected? [SSR-2/2 Requirement 24; 5.29] [NS-G-2.11; 6.5, 6.7-6.11, 6.13]

How and at what frequency are event trend reviews presented to plant management? [NS-G-2.4; 6.66]

6.9. Effectiveness review of the operating experience programme

What methods are used to determine the effectiveness of the operating experience programme? Does the methodology involve both self-assessments as well as peer reviews, especially those by external organizations? What are the scopes of the self-assessment and of the peer review, and how often are these performed? [SSR-2/2 Requirement 24; 5.33] [NS-G-2.4; 6.62] [NS-G-2.11; 8.1-8.3, 8.6]

How are the results of the effectiveness review used to identify weaknesses in the OE programme and to make the necessary improvements? [SSR-2/2 Requirement 24; 5.33] [NS-G-2.11; 8.2] [NS-G-2.4; 6.62]

What indicators track the effectiveness of the OE programme? How are these indicators used to make the improvements needed? Are trends in performance indicators analysed and evaluated at regular intervals? [NS-G-2.11; 8.2, 8.7]

What periodic reports are issued on the assessment of the effectiveness of the OE programme? Do these reports cover all stages of the programme? [NS-G-2.11; 8.4, 8.1]

6.10. Use of PSA and PSR

How is PSA used to assess the safety significance of events? [NS-G-2.11; Annex I-12, I-13]

How is internal and external operating experience feedback integrated in the PSR programme? [SSR-2/2 Requirement 12; 4.44] [SSG-25; 5.92]

FACTs Requirements:

September 2016

Format

- Date format: 8 June 2016 (DD MM YYYY)

- Use The Plant instead of The Station

- Do not include procedure number , but the name of the procedure, such as the Working instruction to calibrate the pressure transmitter 1XXX

- Numbering (no numbering, use – as in this format

- Spell out all the abbreviations, such as: Main Control Room (MCR), and consistent throughout the report

- Use English words in the report, no local language words in the report

Exchange with the Counterpart

- Every night, write the facts in the format as specified (refer to the examples below)

- Save it on the last page of your Working Notes Outline

- You will have a printed out copy of the facts in your tray before lunch and you can give the facts to your counterpart for verification

- Revise the facts with the inputs from discussions with your counterpart, and finalize the facts.

- Make sure your counterparts understand the potential safety consequence of your facts (ask yourself so what)

- When you have enough facts for a theme, develop the issue per the example of issue and give it to team leader and deputy team leader early

Facts (for reference only, please delete it and add you own)

Maintenance Work Practices

- Work on Essential Service Water (ESW) pump C outlet venting Valve (1EF-V0054)

  - Floor grates at the worksite were not covered with canvas to prevent small items from falling through to the floor below.

  - Wrenches, spanner, bolts and nuts in plastic bags and lubricants for bolts were placed on the Pump inlet pipe with the potential to slip off.

  - The plastic bag containing bolts and nuts was broken during the work, and the bolts and nuts fell through the floor grates down to the floor below.

  - A soft Foreign Material Exclusion (FME) cover was used as bag for used bolts and nuts.

  - The worksite was not fenced off.

  - The above situations were not challenged by the three workers within the group.

- The pre-job brief for the test of the Load Shedding Sequencer logic check for 3.3kV essential electrical board 3 was not conducted in a structured manner as outlined in the Green Card Brief. Although most of the elements were covered, key points were not emphasized in a concise manner.

- Three way communication was not used as intended during the test of Load Shedding Sequencer logic check for the 3.3kV essential electrical board 3. The worker and the team lead did not challenge each other for not using three way communication.

- On 16 September 2015 during the leak testing on the condensate system, the test equipment used for this activity had been connected to the incorrect Condenser Extraction Pump (CEP). Not using human error prevention tools (such as pre-job briefing, point touch verbalize, peer check, and three way communication) has been identified as the main cause.

- On 4 August 2014, when working on the controller (1AB-PC0277) for the loop 2 steam generator Power Operated Relief Valve (PORV) (1AB-PV0277), an unauthorized parameter setting was used. This caused the manual close button to open the PORV and the open button to close the PORV. This condition was not identified from 4 August to 26 September 2014 as the automatic control worked correctly.