WANO MC Corporate Peer Review for NPPD  
15-24 May 2022  
  
CORPORATE GOVERNANCE (CO.2)

**Performance Objective**

Corporate governance provides the needed organisational structures, policies, processes and programmes to establish and implement high standards for the operation, maintenance and organisational support of the nuclear stations.

**Area for Improvement CO.2-1**

**Continuous improvement process is not fully established to assure sustainable improvement of Company’s performance.**

The Company governance system is developed to ensure gradual improvement of safety performance within different areas of responsibility and performance information is shared across the organization. However, the Team identified cases when Governance level provisions sometimes lack the needed, timely updated and clearly communicated, defined and properly executed processes and programmes to establish and implement high standards for the operation.

**Causes and Contributors**

1. Lengthy approval chain of Governance level documents;
   1. COVID restrictions;
   2. Extended time to collect comments from staff and contractors;
   3. Changes in top-level Management;
2. Delay in incorporation of best international practices;
   1. Limitations and restrictions in access to international experience due to political situation;
   2. Lack of information regarding practical implementation in the field of some technical and administrative activities;
   3. Overreliance on the experience of Main equipment supplier (Rosatom);
   4. Single Unit Plant of unique integrated German-Russian design makes it difficult to procure relevant technical solutions, spares and experience;
3. Task oriented mind-set of some employees;
   1. Lack of adherence to management expectations in this area by some front-line personnel;
   2. There are segregation of information for different job positions and different levels of hierarchy;
   3. Lack of initiative.

**Supporting Facts**

1. Revision of 2016 of the Company requirements for Management system MSR-47000-01 is currently in use both at Corporate level and at the Plant. The procedure has validity deadline until winter 2021. The new revision was prepared, but still not approved because of changes in Top-level Management. It is planned to be issued by the end of June. (CO-06-PA-02)
2. The Company requirements for Management system MSR-47000-01 is referencing IAEA GSR 3, which has been substituted by GSR Part 2 in 2016 (already 6 years since GSR 3 became obsolete). The Plant explained that this was the request of INRA to keep obsolete document as reference. (CO-06-PA-03)
3. Two areas identified at the Company as in need for improvement are HU errors and Succession Planning. When asked when the issues are supposed to be resolved, the Management system Head explained that the HU errors are evaluated based on feedback from the Plant. Indicators are based on WANO and these are set as one of references. Objectives communicated to the Plant and monitored through Management dashboard on Monthly basis. However the Governance provisions available for review do not include progress review schedule and success criteria. (CO-06-PA-04)
4. The Company Ageing Management (AM) Programme covers only a set of large-scale equipment or commodity groups, e.g. RCPs, FW pumps, Pressurizer, turbine condensate pumps, main generator, etc. Information is being collected, scoping is being carried out. However, the Company has not yet developed provisions for a number of activities: there is no Data Base of equipment in-scope of AM, criteria for scoping in-line with WANO GP 2020-31 and IAEA SSG-48 and SSG-82 rev.1 have not been developed, review of AM programme against nine attributes of an effective AM Programme is not completed. (CO-05-FS-04)
5. There is a Technological Obsolescence work plan for equipment identified on the spot. However, the Company has not yet provisions for development of a comprehensive technological obsolescence programme in line with the best international practices accumulated in WANO GP 2020-31, IAEA SSG-48 and INUOG Guidelines. (CO-07-PA-02)
6. According to MS&S manager, initially activities at the Plant were mostly compliance-based (to meet Regulatory Requirements). Since recently, approach started moving to continuous improvement. (CO-03-SS-10).
7. Important activities in TR and HR area contain just the completed training courses without reference to challenges in past human errors and to improvement plans (A2, Ch5, p91). During the review the additional information was provided. (CO-01-HL-05).
8. The presentation delivered at the entrance meeting about the plant performance results was focused on Company achievements. The WANO index was presented on the right way, but the value is 70%, which is ranking the plant in the last performance quartile of Nuclear fleet. The recent FUPR results (4 months ago) and the progress made were not evocated. No challenge on performance improvement has been presented. (CO-03-LG-02).
9. According to “Performance evaluation report on the achievement of NPPD Co. annual goals in 2020-2021”, several NPPD annual improvement goals in 2020-2021 were not achieved. Some of annual goals, not achieved in 2020-2021, have been moved to the next year’s workplan after analysis and evaluation. The Company’s vision is that this is the way to implement continuous improvement.

**Current Perspective**

Managing Director of the company as the main person responsible for management system commits himself to create a proper atmosphere and sustainable practice in continuous improvement of the management system and to support the activities which lead to promotion of safety level in the company in the framework of this system. Also, he puts the timely, efficient and effective implementation of processes (while meeting the requirements of management system) at the forefront of activities in the company.

In practice the Company takes the following actions:

1. The company has notified the subsidiaries about its expectations and requirements in the policies
2. Based on the long-term objectives and strategies, the company develops annual plans.
3. Annual targets are determined and set with coordination between the departments of the company and subsidiaries
4. Periodically, the progress of targets are monitored and necessary reports are submitted to all concerned departments of the company and subsidiaries

For the purpose of continuous improvement of the mid-term objectives, again, the process will be repeated until reaching the favourable result.

The Company is periodically (at least once every two years) revise the management system policy and, while controlling its conformity with other documents of the company, ensure the effective implementation of the processes and requirements of management system and reports relevant results to the Managing Director.

It seems that despite providing training in the area of communications, interpersonal relationships, organizational behaviours etc., still there is a distance until reaching the favourable result. In addition to setting targets, the Company is planning to hold relevant practical workshops through support from WANO and other international organizations, making use of expertise of experienced experts.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_