|  | World Association of Nuclear Operators Moscow Centre WANO – MC 25 Ferganskaya, Moscow, 109507, Russia Phone. +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

- NPP/Organization: Jiangsu Nuclear Power Corporation, Tianwan NPP

- The topic of information request: Service life of the gas fire-fighting cylinder

- The goal of information request: We hope to know which NPP use the gas fire-fighting cylinder produced by manufacturer АРТСОК and the actual service life of this gas fire-fighting cylinder.

- Problem description: Tianwan NPP Units 1&2 are using the gas fire-fighting cylinder produced by manufacturer АРТСОК. According to the manufacturer’s documents, service life of the cylinder is 30 years. According to the regulation ТУ 4854-001-33075088-96, service life before major overhaul of the cylinder is not less than 25 years. We hope to know how each NPP performs.

- Specific questions: - Does your NPP use the gas fire-fighting cylinder produced by manufacturer АРТСОК? - How long is the service life of the gas fire-fighting cylinder at your NPP?

- Proposed organizations for sending this request: WANO-MC NPPs

- Department – request initiator: Mr. Liu Jianmin, Engineer of maintenance department, Tianwan NPP.

- Contact details of the requester: Tel. (office): +86 518 82208045 E-mail. liujm01@cnnp.com.cn

- Date of request: 8.2.2022