|  | Московский центр Всемирная Ассоциация Организаций, эксплуатирующих Атомные Электростанции ВАО АЭС – МЦ Россия, 109507, Москва, Ферганская ул., 25 Тел. +7 495 376 15 87 Факс: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

- NPP/Organization: Rivne NPP / SE NNEGC "Energoatom"

- The topic of information request: Repair of the VAZ 215/109-6AM05 electrical motor's rotor (RCP drive)

- The goal of information request: List of defects detected during operation of rotor of the VAZ 215/109-6AM05 electrical motor; List of latent defects identified during repair of the VAZ 215/109-6AM05 electrical motor's rotor

- Description of the problem: Necessity of repair with replacement of rotor winding in VAZ 215/109-6AM05 electrical motor (RCP drive)

- Questions: - Do you repair VAZ 215/109-6AM05 electrical motors' rotors with replacement of the rotor winding at the plant? - What is the scope of repair works? - Did you claim on quality of rotor winding replacement work due to defects detected during operation or further outages? - Do you still operate repaired (with rotor winding replaced) VAZ 215/109-6AM05 electrical motors? - Have you replaced VAZ 215/109-6AM05 electrical motors' rotors? If the answer is "yes", why?

- Proposed organizations for sending this request: VVER-1000 plants

- Department – request initiator: Maintenance department, SS "Rivne NPP"

- Contact details of the requester: Oleg Khalandach, tel. + 380 3636 64 5 68, HaON@rnpp.atom.gov.ua

- Date of request: 09.08.2021