- Event Reporting Level and Timeliness

- WANO Event Reports (WERs) & Preliminary WERs published by OECT

| Year | Atlanta | Moscow | Paris | Tokyo | Total |
| --- | --- | --- | --- | --- | --- |
| 2014 | 470 | 83 | 315 | 62 | 930 |
| 2013 | 854 | 176 | 463 | 189 | 1,682 |
| 2012 | 872 | 102 | 310 | 217 | 1,501 |
| 2011 | 683 | 82 | 283 | 244 | 1,292 |
| 2010 | 588 | 68 | 246 | 234 | 1,136 |

- WER Reporting Median (Days) – Goal of 140 days

| Year | Atlanta | Moscow | Paris | Tokyo |
| --- | --- | --- | --- | --- |
| 2014 | 95 | 108 | 140 | 129 |
| 2013 | 80 | 137 | 130 | 103 |
| 2012 | 66 | 157 | 117 | 98 |
| 2011 | 116 | 95 | 124 | 133 |
| 2010 | 70 | 66 | 113 | 116 |

Preliminary WER Reporting Median (Days) – Goal of 30 days

| Year | Atlanta | Moscow | Paris | Tokyo |
| --- | --- | --- | --- | --- |
| 2014 | 2 | 3 | 111 | * |
| 2013 | 22 | 3 | 76 | 57 |
| 2012 | 14 | * | 81 | 28 |
| 2011 | 11 | 10 | 71 | 104 |
| 2010 | 8 | 17 | 31 | 63 |

- Notes:

- * indicates none issued for the year.

- Event reporting numbers are based on the following rules:If a WERor Preliminary WERwas updated, the updated version is not counted as a newly reported event. If a single event affects more than one unit at a station, this is counted as one report. A generic WERaffecting a fleet of plants or more than one plant is also counted as one report.

- Events classified as Significant this month:

- WER ATL 14-0098,(PRELIMINARY) Increasing Generator Hydrogen Consumption Rate Requires ForcedOutage to Troubleshoot and Repair

- Events classified as Noteworthy this month:

- WER ATL 14-0448,Pipe Wall Thinning Beneath Ultrasonic Feedwater Meters

- WER ATL 14-0435,Pipe Wall Thinning Beneath Ultrasonic Feedwater Meters

- WER PAR 14-0292,Main Boiler Feed Pump Elevated Vibration Levels

- WER ATL 14-0394,Isolated Phase Bus Cooler Leak Leads to Unit Shutdown

- SOERs and SERs

- Issued this month:

- None

- Issued to date in 2014:

- None

- In progress:

- SOER 2014-1, Safety System Failures Caused by Off-Site Power Open Phase Events

- SER 2014-1, Failure of Temporary Lift Assembly Results in a Fatality, Loss of Off-Site Power, Scram and Extensive Equipment Damage(WER ATL 13-0766)

- SER 2014-2, Reactor Scram Followed By Safety Injection Due To Human Errors During Maintenance Activities(WER PAR 14-0153)

- SER 2014-3, Common Mode Failure of Emergency Power Due To Internal Flooding (WER PAR 13-0327)

- Reports and Analysis

- Issued this month:

- RPT 2014-4, Analysis of SOER 2013-2 Rev 1 Recommendations Response Data

- How To Review Update  for WANO SOER 2011-3 Rev 1, Spent Fuel Facility Degradation, Loss of Cooling or Makeup

- Issued to date in 2014:

- RPT 2014-1, Analysis of Recent Organisational Effectiveness and Safety Culture Areas for Improvement

- RPT 2014-3, Analysis of Unplanned Reactor Scram Events

- RPT 2014-4, Analysis of SOER 2013-2 Recommendations Response Data

- How To Review Update  for WANO SOER 2011-3 Rev 1, Spent Fuel Facility Degradation, Loss of Cooling or Makeup

- In progress:

- Analysis of Heat Exchanger Events

- Analysis of Fire Related Events

- Just-In-Time Operating Experience

- Issued this month:

- None

- Issued to date in 2014:

- None

- In progress:

- None

- Hot Topics

- Issued this month:

- None

- Issued to date in 2014:

- Intake Cooling Water Blockage

- Steam Leak Events and Their Consequences

- In progress:

- None

- CEO Update

- Issued this month:

- None

- Issued to date in 2014:

- None

- In progress:

- None

- Other OE Related Documents

- Issued this month:

- None

- Issued to date in 2014:

- WANO Operating Experience Programme Guideline WPG02 (Rev 4)

- Operating Experience Programme Reference Manual (Rev 5)

- RPT 2014-2, Operating Experience Annual Report for 2013

- In progress:

- None