|  | WORLD ASSOCIATION OF NUCLEAR OPERATORS MOSCOW CENTRE WANO – MC 25 FERGANSKAYA, MOSCOW, 109507, RUSSIA Phone: +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

Dear Colleagues,

Loviisa NPP is asking to share your plant experience in providing spare parts for the "live steam" IR7040 radiation monitoring devices manufactured by Mirion (formerly Canberra), if such devices are used at  plant.

Detailed questions :

- NPP/Organization: Fortum Power and Heat Oy, Loviisa NPP

- The topic of information request: Mirion (former Canberra) IR7040 live steam radiation measurement devices

- The goal of information request: To know if other power plants have this type of instruments and also get contact information for asking more information.

- Problem description: Mirion has stopped manufacturing IR7040 radiation measurement devices in 2020. As a result Loviisa NPP can't get spare parts for the radiation measurement devices.

- Specific questions: 1. Does your NPP have IR7040 radiation measurement devices manufactured by Mirion (former Canberra)? 2. If you have these measurement devices we would like your contact information for asking more information.

Russian:

З А П Р О С

технической/организационной информации

по линии ВАО АЭС

Уважаемые коллеги,

АЭС Ловииса просит поделиться опытом обеспечения запасными частями установок радиационного контроля активности «острого пара» IR7040 производства компании Mirion (бывшая Canberra), если такие применяются на станции.

Описание проблемы:

В 2020 году компания Mirion прекратила производство установок радиационного контроля IR7040. В результате АЭС Ловииса потеряла возможность приобретать запасные части для этих установок.

Конкретные вопросы:

1. Применяются ли на вашей АЭС установки радиационного контроля IR7040 производства компании Mirion (бывшая Канберра)?

2. Если у вас есть эти измерительные приборы, мы хотели бы получить ваши контактные данные для получения дополнительной информации.

Bushehr NPP Answers and Recommendations in this regard:

Ответы и рекомендации АЭС Бушер в этой связи:

1—

2—

**- Specific responses and comments:

--

--

--