|  |  |
| --- | --- |
|  | **Московский центр**  **Всемирная Ассоциация Организаций, эксплуатирующих Атомные Электростанции**  **ВАО АЭС – МЦ**  Россия, 109507, Москва, Ферганская ул., 25  Тел. +7 495 376 15 87  Факс: +7 495 376 08 97  [info@wanomc.ru](mailto:info@wanomc.ru) |

**REQUEST**

**to provide technical and organizational information via WANO**

|  |
| --- |
| 1. NPP/Organization:   Temelin NPP / CEZ Group |
| 1. The topic of information request:   Maintenance program to the hatch control unit. |
| 1. The goal of information request:   Maintenance program for the hatch control unit "Transport Gateway 3400.03.00.000". |
| 1. Description of the problem:   When operating the sunroof control unit, there are problems with sealing and subsequent displacement. (Transport lock 3400.03.00.000, manufactured by Atommash Volgodonsk, year of manufacture 1987, serial number 15, delivered from Russia in 1989) |
| 1. Questions:   When operating the sunroof control unit, there are problems with sealing and subsequent displacement. Because of this, we would like to receive a sunroof control unit maintenance program. (Transport lock 3400.03.00.000, manufactured by Atommash Volgodonsk, year of manufacture 1987, serial number 15, delivered from Russia in 1989)  We want to ask our colleagues who operate the same hatches on VVER-1000 whether they have such a program and whether they are ready to provide it to us. |
| 1. Proposed organizations for sending this request:   VVER-1000 nuclear power plants |
| 1. Department – request initiator:   Building part |
| 1. Contact details of the requester:   Jiří Kovařík, mob.: +420 606 330 633, e-mail: [jiri.kovarik01@cez.cz](mailto:jiri.kovarik01@cez.cz) |
| 1. Date of request:   27.04.2022 |

The request created by:

WANO MC on site representative at the Temelin NPP

**Ing. Josef Hejdus**

mobil: +420 792 330 242

e-mail: [Josef.Hejdus@cez.cz](mailto:Josef.Hejdus@cez.cz)