|  | World Association of Nuclear Operators Moscow Centre WANO – MC 25 Ferganskaya, Moscow, 109507, Russia Phone. +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

- NPP/Organization: Kola NPP, “Concern Rosenergoatom”, Russia

- The topic of information request: Protection from single-phase earth faults in generator power circuits and/or from open phase short circuits in generator winding.

- The goal of information request: Gain data on protection specifications and operating modes.

- Problem description: Kola plant is going to optimize performance of protections from single-phase earth faults in generator power circuits and/or from single-phase short circuits in generator winding.

- Specific questions: 5.1. Do you have protections from single-phase earth faults in generator power circuits and/or from single-phase short circuits in generator winding? 5.2. What are specifications and operating modes of those protections from single-phase earth faults in generator power circuits and/or from single-phase short circuits in generator winding?

- Proposed organizations for sending this request: All plants of WANO MC.

- Department – request initiator: Kola NPP, Electrical Department

- Contact details of the requester: Sergei Seremak, Electrical Department Deputy Head, Tel. +78153242373; +78153242890 email: SeremakSV@kolnpp.rosenergoatom.ru

- Date of request: 29.11.2021

WANO MC on-site representative 				Kuzin Sergey