|  | World Association of Nuclear Operators Moscow Centre WANO – MC 25 Ferganskaya, Moscow, 109507, Russia Phone. +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organisational information via WANO

- NPP/Organisation: SS Rivne NPP/SE NNEGC “Energoatom”

- Topic of information request: SPV (Single Point Vulnerability) plant programme

- Goal of information request: Study the experience of NPPs with VVER-440/1000 reactor types for its further implementation

- Problem description: Single failure-related events, including reactor scrams, occur at the NPP periodically. An event cause analysis, including the industry – level analysis, proves that events have a single failure nature. Therefore, the plant is interested in taking additional actions (approaches) to determine (identify) equipment vulnerable to single failures.

- Specific questions: - Is the SPV programme implemented at your NPP? Is there a document that describes approaches to managing SPV components? - A list of SPV equipment (its operating name, description, system) - Have the SPV programme performance indicators been developed? Is the programme effectiveness self-assessment performed and with what frequency? - Roles of a department that supports the SPV programme, the number and qualification of its staff.

- Proposed organizations to send the request to: All NPPs, members of WANO-MC, with VVER--440/1000 reactor types.

- Department – request initiator: Equipment Reliability and Lifetime Extension department

- Contact details of the requester: Treushchenko A. V., head of the reliability and operation experience unit of the equipment reliability and lifetime extension department +380363664908 treav@rnpp.atom.gov.ua

- Date of request: 02/12/2021