Request to provide technical and/or organisational information via WANO

|  |
| --- |
| **NAME OF REQUESTING PLANT & COMPANY: ENGIE-Electrabel** |
| **REQUEST SUBJECT: actions related to stress corrosion cracking found ad EDF stations (**[WER PAR 22-0180](https://www.wano.org/OperatingExperience/OE_Database_2012/Pages/EventReportDetail.aspx?ids=45200))  |
| **REQUEST OBJECTIVE:** To obtain feedback/information from other NPP’s/facilities on ***actions planned or taken or requested by the regulator following the findings at Civaux*** |
| **DESCRIPTION OF THE PROBLEM:**After the discovery of  stress corrosion cracking on the  safety injection pipe at Civaux and later at Chooz and Penly,  ([WER PAR 22-0180](https://www.wano.org/OperatingExperience/OE_Database_2012/Pages/EventReportDetail.aspx?ids=45200)), our regulator wants to know what we are going to do: e.g. additional inspections, justifications etc.As the root cause is not known yet, it is difficult to know where additional inspections could be useful or not. |
| **SPECIFIC QUESTIONS:** 1. Have you done additional inspections, and where ?
2. Have you planned additional inspections, when and where ?
3. Have you had questions from the regulator about this issue?
 |
| **SUGGESTED ORGANISATION TO RECEIVE THIS REQUEST:** All WANO member plants  |
| **Replies to be addressed to:**Name: christiaan DebrouwerePosition: Engie Electrabel Fleet manager Operating experience Tel:+32 478652242e-mail: christiaan.debrouwere@bnl.engie.com |
| **DATE OF REQUEST: 10/02/2022** |
| **NUMBER (added by WANO PC): 2022-001** |