|  | World Association of Nuclear Operators Moscow Centre WANO – MC 25 Ferganskaya, Moscow, 109507, Russia Phone. +7 495 376 15 87 Fax: +7 495 376 08 97 info@wanomc.ru |
| --- | --- |

REQUEST

to provide technical and organizational information via WANO

- NPP/Organization: MVM Paks NPP

- The topic of information request: Implementation of the 1.a recommendation of SOER 2010-1 “Shutdown Safety”.

- The goal of information request: We would like to receive information from WANO members about their positive practices regarding the implementation of 1.a recommendation of SOER 2010-1 “Shutdown Safety”.

Problem description: Paks NPP would like to supplement the existing outage safety analysis process with introduction of some kind of outage index or decay heat removal indicator.

- Specific questions: - How do you ensure the shutdown safety as a top outage priority? The 1.a recommendation of the SOER 2010-1 requires defining the shutdown safety as a key success factor and outage goal. Please provide practical example, solution. - What kind of method or performance indicator is established and used for events that result in a loss of decay heat removal, challenge a shutdown safety function, or result in an unplanned increased risk condition?

- Proposed organizations for sending this request: All WANO centres (AC, PC, MC, TC)

- Department – request initiator: OE Section

- Contact details of the requester: Jelena Hadnagy, Senior Engineer, hadnagyj@npp.hu

- Date of request: 26.07.2021

WIO at Paks NPP              		Jelena Hadnagy