3. OPERATIONS

3.1. Organization and functions

3.1.1. Functions and responsibilities

How are organizational structure, responsibilities, levels of authority and functions defined and communicated within the operations organization? Are they understood by personnel? [SSR-2/2 Requirement 1; 3.2(b)(d), Requirement 3; 3.8, 3.9] [NS-G-2.4; 2.11] [NS-G-2.14; 2.1-2.5]

How are the goals, objectives and safety indicators related to operations developed and managed? How are outcomes checked and measured within the organization? [SSR-2/2 Requirement 9; 4.33-4.37, 3.2(a)] [NS-G-2.14; 2.16, 2.17]

What is the process for ensuring that operations policies and programmes are kept up-to-date? What internal process is put in place in this regard? [SSR-2/2 Requirement 5; 4.5] [NS-G-2.14; 2.6-2.9]

How are the interface responsibilities with other plant groups/departments defined, e.g. maintenance and fuel management, and how does the plant ensure effectiveness and mutual understanding? [NS-G-2.4; 3.5] [NS-G-2.14; 2.2, 2.26]

3.1.2. Personnel

What is the staffing level, including the use of contractors, in the operations area? How is it ensured that there are enough shift staff to cover workloads during both outages and plant operation, for normal as well as emergency conditions (including multiunit plants)? [SSR-2/2 Requirement 4; 3.11] [NS-G-2.2; 2.1, 6.2] [NS-G-2.4; 6.14, 6.29, 6.30] [NS-G-2.14; 2.11, 3.4, 3.9, 3.11, 4.1, 4.20]

How are operations personnel, including contractors, qualified for their assigned work? What measures have been taken to maintain an adequate level of experience, knowledge and proficiency? [SSR-2/2 Requirement 4; 3.10-3.11] [NS-G-2.8; 2.1, 2.5, 2.7] [NS-G-2.14; 2.10, 2.13]

How are personnel performance reviews undertaken, and are these considered by the plant to be effective? [NS-G-2.8; 3.7, 3.31, 4.21, 4.22, 4.45]

What regular re-qualification training is undertaken by operators, and is there a similar requirement if an operator has been on an extended absence from duty? [SSR-2/2 Requirement 4; 3.12, Requirement 7; 4.19] [NS-G-2.8; 4.22, 4.29, 4.30, 7.12] [NS-G-2.14; 2.13, 3.1]

3.2. Operations equipment

Do the main control room and supplementary control room (sometimes known as the remote shutdown panel) facilities assure habitability and contain the necessary documents? [SSR-2/2 Requirement 27; 7.7, 7.8] [NS-G-2.14; 6.5, 6.6]

Are effective methods in use to indicate system and equipment status? [NS-G-2.14; 3.6, 4.7, 4.16, 4.34, 4.35, 4.49, 4.50, 5.5, 5.49, 5.50, 6.7]

What communication systems are there available for ensuring adequate transfers of information to the operators in the main control room from additional and local control rooms, and how are they periodically evaluated? [SSR-2/2 Requirement 27; 7.7, 7.8] [NS-G-2.1; Table A section 10] [NS-G-2.4; 6.31, 6.61] [NS-G-2.14; 6.13, 6.14]

What is the policy with respect to the number of lit annunciators in the control room and on alarm panels throughout the plant? How are alarms in the control room prioritized? [SSR-2/2 Requirement 27; 7.9] [NS-G-2.14; 6.10]

How does the plant ensure that both the equipment used by the operators and their working environment support safe and reliable operation of the plant, i.e. plant cleanliness, lighting, as well as noise levels and temperatures in the control room? [NS-G-2.4; 6.61] [NS-G-2.14; 6.1, 6.3]

Does the plant information system provide all the safety related plant performance data? [SSR-2/2 Requirement 27; 7.9]

Are there sufficient safety, emergency, first aid and firefighting facilities available? [SSR-2/2 Requirement 23; 5.26] [NS-G-2.4; 7.1-7.3, 7.17, 7.19, 8.8] [NS-G-2.14; 6.22]

3.3. Operating rules and procedures

3.3.1. Operational limits and conditions (OLC)

How does the plant ensure that OLCs cover all modes of normal operation, including shutdown and outage stages? [SSR-2/2 Requirement 6; 4.9]

What controls and procedures are in place to ensure compliance with OLCs? [SSR-2/2 Requirement 6; 4.12] [Requirement 8; 4.26] [NS-G-2.2; 3.3, 3.10, 8.1, 10.2] [NS-G-2.14; 4.55]

How are deviations from OLCs appropriately reported and documented? [SSR-2/2 Requirement 6; 4.13] [NS-G-2.2; 3.5, 3.6, 6.68, 8.3, 10.6] [NS-G-2.4; 6.64] [NS-G-2.14; 4.55, 5.18, 5.49]

Are all entries to and exits from OLCs well documented? [SSR-2/2 Requirement 6; 4.14, 4.15] [NS-G-2.2; 9.6] [NS-G-2.14; 4.55, 4.57]

How frequently are OLCs reviewed and revised? [SSR-2/2 Requirement 6; 4.8]

Does the surveillance programme cover all safety systems? [SSR-2/2 Requirement 6; 4.7, 4.12] [NS-G-2.2; 3.4, 3.5, 3.10, 7.1-7.5, 8.1, 10.6] [NS-G-2.14; 2.3, 5.17, 5.20]

3.3.2. Restart following events or planned shutdowns

What are the plant’s requirements and procedures for restart following refuelling or maintenance shutdowns? [SSR-2/2 Requirement 8; 4.31] [NS-G-2.6; 9.38]

What is the policy regarding event investigations following a reactor trip, in order to ensure adequate system reliability for restart? [SSR-2/2 Requirement 8; 4.31] [NS-G-2.14; 5.34]

What management review takes place prior to restart, following refuelling or maintenance shutdowns? [SSR-2/2 Requirement 8; 4.31] [NS-G-2.6; 8.55] [NS-G-2.14; 5.35, 5.36]

3.3.3. Operator aids

Are operator aids clearly understood, authorised and being properly used? [SSR-2/2 Requirement 26; 7.5, 7.6] [NS-G-2.4; 6.61] [NS-G-2.14; 6.15-6.18]

What controls are in place to prevent the use of non-authorized operator aids and other non-authorized material? [SSR-2/2 Requirement 26; 7.5]

3.3.4. Operating procedures

What is the policy for procedure usage? [SSR-2/2 Requirement 26; 7.1] [NS-G-2.14; 2.8, 4.21]

How does the plant ensure that the operating procedures for various reactor states comply with OLCs? [SSR-2/2 Requirement 30; 7.23]

Are procedures clearly identified and readily accessible in the control room and in other operating locations, where necessary? [SSR-2/2 Requirement 26; 7.1]

Are procedures kept up-to-date, and are outdated procedures promptly replaced? [SSR-2/2 Requirement 26; 7.4] [NS-G-2.14; 4.22, 4.24]

Is there an adequate method for reporting and documenting procedure errors and problems? [NS-G-2.14; 2.20, 3.1, 3.5, 4.22, 4.23]

Are there regular reviews to ensure procedures are technically correct? [SSR-2/2 Requirement 26; 7.4]  [NS-G-2.14; 5.24]

3.3.5. Normal operating procedures

Are the normal operating procedures clearly written, understood and supported by appropriate references? [SSR-2/2 Requirement 26; 7.1, 7.2] [NS-G-2.14; 2.3, 3.1, 3.3, 3.5, 4.7, 4.21]

3.3.6. Operating procedures for anticipated operational occurrences, and emergency operating procedures

Are the emergency procedures clearly written, understood and supported by appropriate references? Are they easily accessible? [SSR-2/2 Requirement 26; 7.1, 7.3] [NS-G-2.14; 4.22] [NS-G-2.2; 8.1]

Are symptom-based or event-based emergency operating procedures in use? Are responsibilities clearly defined? [SSR-2/2 Requirement 26; 7.3] [NS-G-2.2; 8.4, 8.8, 8.12-8.14, 9.6, 9.7]

How are the EOPs verified and validated? Were plant specific safety analyses used in the development of the EOPs? [SSR-2/2 Requirement 26; 7.1, 7.3, 7.4] [NS-G-2.14; 4.23]

Do alarm response procedures exist, and are they used? Are they available in the main control room and at relevant remote panels? [SSR-2/2 Requirement 27; 7.9] [NS-G-2.14; 4.25] [NS-G-2.2; 8.3]

3.3.7. Control of changes to procedures

Is there a well understood system for controlling temporary changes to procedures? [GS-G-3.1; 5.24]

Is information on temporary changes distributed to affected users in a timely manner? [GS-G-3.1; 5.27, 5.28]

How promptly are procedures replaced when changes are implemented? [GS-G-3.1; 5.27]

What are the requirements for periodic review and approval of operating procedures and supporting documentation? Are these requirements stipulated in configuration management procedures? [SSR-2/2 Requirement 26; 7.4]

3.4. Conduct of operations

3.4.1. Shift routines and operating practices

In what way are operational issues and status reported and documented? [NS-G-2.4; 4.4, 6.32] [NS-G-2.14; 4.16, 4.42, 4.49, 5.3, 5.5, 5.8, 5.18, 5.26, 5.49, 6.8]

What processes are in place to ensure adequate support to the shift supervisor on a 24/7 basis? [NS-G-2.14; 2.23, 2.24, 3.11, 4.6, 5.9, 7.11]

How does the plant minimize the volume of administrative tasks undertaken by the duty shift crew? [NS-G-2.14; 4.3, 4.6]

How does the plant make sure that activities or emergencies on one unit do not affect the other unit(s)? [SSR-2/2 Requirement 1; 3.2(d)] [NS-G-2.14; 4.11, 7.8, 7.25, 7.28]

3.4.2. Control room

How does the plant ensure and verify that operators are attentive and responsive to plant conditions? [NS-G-2.14; 3.1, 3.3, 3.5, 3.6, 3.10, 4.7-4.10]

How is it assured that shift turnovers and briefings are effective? [NS-G-2.4; 6.32] [NS-G-2.14; 4.13-4.20, 4.27, 4.28]

How are system and component status changes appropriately authorized? [NS-G-2.14; 2.7, 4.43, 5.5, 5.6, 5.38, 5.43, 7.28]

How does the plant ensure that the key locking control system effectively supports system reliability? [NS-G-2.14; 5.6]

Is control room access limited to appropriate personnel? [NS-G-2.4; 6.51] [NS-G-2.14; 4.3, 4.15]

Which verbal communication policy, e.g. 3-way communication, is applied at the plant? [SSR-2/2 Requirement 8; 4.28] [NS-G-2.14; 4.43-4.47]

How are reactivity manipulations planned, controlled and conducted? What is the role of operations management in these activities? [SSR-2/2 Requirement 30; 7.20-7.23] [NS-G-2.14; 5.21-5.25]

How does management support and encourage operations personnel to apply conservative decision-making? [SSR-2/2 Requirement 8; 4.30] [NS-G-2.14; 2.18]

3.4.3. Surveillance testing

How does the plant guarantee that the surveillance test programme is properly executed? [SSR-2/2 Requirement 31; 8.2] [NS-G-2.4; 6.42] [NS-G-2.6; 9.2] [NS-G-2.14; 2.3, 4.4, 4.50, 5.17-5.20]

How are deviations discovered in the course of surveillance tests first evaluated and then rectified?

[NS-G-2.14; 5.18]

How are the results of the surveillance programme made known to operations and on what timescale following the test? How are surveillance testing results trended and analysed for emergent issues?  [NS-G-2.4; 6.34, 6.35] [NS-G-2.14; 5.18]

3.4.4. Field operations

How does the plant guarantee that operator rounds effectively verify system and equipment status? [NS-G-2.4; 6.33] [NS-G-2.14; 4.34-4.42, 5.43, 5.50, 6.6]

How does the plant control temporary storage areas?  [SSR-2/2 Requirement 28; 7.10]

Is plant cleanliness and good housekeeping evident, and do operator rounds effectively verify plant cleanliness and housekeeping? [SSR-2/2 Requirement 28; 7.10] [NS-G-2.14; 2.3, 3.1, 4.36, 6.1, 6.20, 6.21, 6.26]

Do field operators report industrial safety problems? [NS-G-2.14; 4.36, 7.34]

What is the policy with respect to identification and labelling of safety related equipment? [SSR-2/2 Requirement 28; 7.12]

How are problems communicated between shifts and across departments? [NS-G-2.6; 4.9, 8.46] [NS-G-2.14; 4.35, 4.49, 7.34]

How extensive is the foreign material exclusion programme? [SSR-2/2 Requirement 28; 7.11] [NS-G-2.5; 3.9, 3.19, 4.2, 4.19, 5.19, 6.8] [NS-G-2.14; 4.36, 6.20]

3.5. Work control

How is the shift crew made aware of systems and equipment that are out of service? [NS-G-2.14; 7.5, 7.7]

How does the plant guarantee that sufficient safety equipment is maintained in service or is available? [SSR-2/2 Requirement 31; 8.10] [NS-G-2.6; 7.1] [NS-G-2.14; 7.4]

How is the work process analysed for risk? [SSR-2/2 Requirement 31; 8.6, 8.13] [NS-G-2.6; 7.2] [NS-G-2.14; 7.1, 7.8, 7.10]

What is the level of participation of operations personnel in work planning? [NS-G-2.14, 7.10, 7.11]

What is the independent verification policy with respect to work authorizations? [NS-G-2.14; 4.10, 4.26, 5.36, 7.28, 7.29]

Are equipment isolations clearly identified? [NS-G-2.14; 7.2, 7.6, 7.21-23, 7.25, 7.31, 7.32]

How is the operations department involved in outage activities to ensure proper configuration control and management of risk? [NS-G-2.14; 7.18-7.20]

3.6. Fire prevention and protection programme

3.6.1. Equipment and systems

How does the plant guarantee that portable firefighting equipment is well maintained?  [SSR-2/2 Requirement 21; 5.21(c)] [NS-G-2.1; 7.1, 7.2] [NS-G-2.14; 6.22]

How is it confirmed that fire barriers are adequately maintained? [SSR-2/2 Requirement 21; 5.21(c)] [NS-G-2.1; 3.2, 6.1, 7.1-7.3, 9.2(a)(b), Table A-I] [NS-G-2.6; 9.18]

What does the plant surveillance test programme consist of? [NS-G-2.1; 7.2, 8.1] [NS-G-2.4; 6.59]

How does the plant ensure that there is systematic control of combustible materials and ignition sources? [SSR-2/2 Requirement 21; 5.21(b)] [NS-G-2.1; 6.1-6.8] [NS-G-2.6; 4.26, 5.15, 8.33]

3.6.2. Firefighting personnel

How does the plant ensure that there is a fully qualified on-shift fire brigade available at all times? [NS-G-2.1; 8.6, 10.3] [NS-G-2.8; 4.28, 4.34]

How is it confirmed that personnel are suitably qualified and possess experience commensurate with their responsibilities? [NS-G-2.1; 9.3]

What initial and refresher training is undertaken by the plant’s fire team? [NS-G-2.1; 9.1-9.6]

What fire control strategies are in place? E.g. restrictions on smoking, limited use of temporary wiring, etc. [NS-G-2.1; 6.9] [NS-G-2.14; 4.36, 6.22]

Are the local civil firefighting groups adequately instructed and trained on site requirements and hazards? [SSR-2/2 Requirement 22; 5.24] [NS-G-2.1; 2.18, 8.2] [NS-G-2.8; 4.34] [RS-G-1.1; 6.14]

What is the scope and frequency of fire drills and exercises? [SSR-2/2 Requirement 22; 5.24] [NS-G-2.1; 3.2, 8.1, 8.6]

What fire training facilities are used to train plant firefighters? [NS-G-2.1; 9.1]

3.6.3. Fire safety analyses

What is the status of the plant’s fire hazards analysis and how frequently is it reviewed? [SSR-2/2 Requirement 22; 5.22]

How has the plant determined the adequacy of its fire protection systems? [SSR-2/2 Requirement 22; 5.21] [NS-G-2.1; 6.6, 6.15, 10.1] [NS-G-2.2; I.39]

How does the plant assess the impact of plant modifications on fire safety measures? [SSR-2/2 Requirement 22; 5.21(f)]

3.7. Control of plant configuration

How does the plant configuration control system ensure that changes to operational practices and operational documentation are properly handled, and that operations personnel are using the latest revisions of operational documents? [SSR-2/2 Requirement 10; 4.38] [NS-G-2.14; 4.24]

What is the system for obtaining operations department permission/authorisation for all maintenance activities before they are commenced, in order to keep continued configuration control and to ensure safe operation of the plant? [SSR-2/2 Requirement 31; 8.10] [NS-G-2.6, 4.9] [NS-G-2.14; 7.5-7.7]

How does the system in place ensure that operating procedures remain fit for their purpose and are modified, verified, validated and approved, as necessary? How does the system ensure that all affected personnel use the latest versions of procedures? [SSR-2/2 Requirement 26; 7.1-7.4] [NS-G-2.2; 8.1, 8.6, 8.7] [NS-G-2.14; 4.22-4.24]

3.8. Use of PSA and PSR

What kinds of PSA applications do operators use in their daily activities? Are operators trained to use them? [SSG-3; section 10]

Are operators familiar with PSA results, especially regarding human error as a contributing factor to core damage? Does the operations department use PSA applications for scheduling and planning work? [SSG-3; 5.107-5.111] [NS-G-2.14; 5.15, 7.10]

What areas of plant operations did the last PSR review cover? Were operations personnel informed of the results of the last PSR, as regards operational practices? [SSG-25; 4.1, 8.11]

Did the last PSR identify any deviations from standard practices for plant operation, and were any recommendations prescribed as a result? What corrective measures were implemented? [SSG-25; 5.96]

How does the plant ensure that self-assessment techniques are effectively applied to operations activities? [SSR-2/2 Requirement 9; 4.34] [NS-G-2.4; 6.33] [NS-G-2.14; 2.20, 5.25]

FACTs Requirements:

September 2016

Format

- Date format: 8 June 2016 (DD MM YYYY)

- Use The Plant instead of The Station

- Do not include procedure number , but the name of the procedure, such as the Working instruction to calibrate the pressure transmitter 1XXX

- Numbering (no numbering, use – as in this format

- Spell out all the abbreviations, such as: Main Control Room (MCR), and consistent throughout the report

- Use English words in the report, no local language words in the report

Exchange with the Counterpart

- Every night, write the facts in the format as specified (refer to the examples below)

- Save it on the last page of your Working Notes Outline

- You will have a printed out copy of the facts in your tray before lunch and you can give the facts to your counterpart for verification

- Revise the facts with the inputs from discussions with your counterpart, and finalize the facts.

- Make sure your counterparts understand the potential safety consequence of your facts (ask yourself so what)

- When you have enough facts for a theme, develop the issue per the example of issue and give it to team leader and deputy team leader early

Facts (for reference only, please delete it and add you own)

Maintenance Work Practices

- Work on Essential Service Water (ESW) pump C outlet venting Valve (1EF-V0054)

  - Floor grates at the worksite were not covered with canvas to prevent small items from falling through to the floor below.

  - Wrenches, spanner, bolts and nuts in plastic bags and lubricants for bolts were placed on the Pump inlet pipe with the potential to slip off.

  - The plastic bag containing bolts and nuts was broken during the work, and the bolts and nuts fell through the floor grates down to the floor below.

  - A soft Foreign Material Exclusion (FME) cover was used as bag for used bolts and nuts.

  - The worksite was not fenced off.

  - The above situations were not challenged by the three workers within the group.

- The pre-job brief for the test of the Load Shedding Sequencer logic check for 3.3kV essential electrical board 3 was not conducted in a structured manner as outlined in the Green Card Brief. Although most of the elements were covered, key points were not emphasized in a concise manner.

- Three way communication was not used as intended during the test of Load Shedding Sequencer logic check for the 3.3kV essential electrical board 3. The worker and the team lead did not challenge each other for not using three way communication.

- On 16 September 2015 during the leak testing on the condensate system, the test equipment used for this activity had been connected to the incorrect Condenser Extraction Pump (CEP). Not using human error prevention tools (such as pre-job briefing, point touch verbalize, peer check, and three way communication) has been identified as the main cause.

- On 4 August 2014, when working on the controller (1AB-PC0277) for the loop 2 steam generator Power Operated Relief Valve (PORV) (1AB-PV0277), an unauthorized parameter setting was used. This caused the manual close button to open the PORV and the open button to close the PORV. This condition was not identified from 4 August to 26 September 2014 as the automatic control worked correctly.